## Slide 1: Single point calibration applied on multivibrator-based signal conditioning circuits for passive modulating sensors
M. Sc. Zivko Kokolanski
Ph.D. Student
kokolanski@feit.ukim.edu.mk

## Slide 2: OUTLINE
Introduction to signal conditioning
Multivibrator in monostable and astable configuration
Measurement uncertainty
Single point calibration
Systematic errors
Transfer characteristic
Temperature variation test
Conclusions

## Slide 3: SIGNAL CONDITIONING
A/D
Sensor
Oscillator
mC
Programmable measurement system
with A/D converter
Programmable measurement system
with oscillator
Simple, low cost
Direct digital interface
Wider dynamic range
Lower electromagnetic interference
mC
Relaxation oscillator
Cref,Rref
Sensor
Direct Sensor-to-microcontroller
interface
ADVANTAGES:
Programmable signal cond. circ.
Sensor
mC

## Slide 4: MULTIVIBRATOR
Basic representation of a multivibrator in
monostable (a) and astable (b) configuration

## Slide 5: MEASUREMENT UNCERTAINTY
Two effects are dominant: quantization and trigger uncertain.

## Slide 6: MONOSTABLE MULTIVIBRATOR (555) FAMILY
???

## Slide 7: MONOSTABLE MULTIVIBRATOR WITH SINGLE POINT CALIBRATION

## Slide 8: SYSTEMATIC ERRORS
Offset
Gain
Nonlinearity
For DRx<1/2LSB
The condition limits the measurement range

## Slide 9: TRANSFER CHARACTERISTIC
Realization with DAQ card USB6218
20 MHz timebase
ENOB = 14.2 bits (0.1 )
Measurement range 1000  to 3000 
Maximal relative error of the approximated transfer characteristic was 0.11%

## Slide 10: TEMPERATURE VARIATION TEST
Rapid temperature rise increased
Tx and Tc for 2%
Rx decreased 0.2%
Single point calibration reduce the
temperature effects nearly 10 times

## Slide 11: CONCLUSIONS
The performances of the multivibrator as a sensor signal conditioner are limited by temperature, aging and other effects
The single point calibration improves the stability of the measurements and performs temperature compensation
The input resistances and leakage currents introduce gain, offset and nonlinearity errors and limit the measurement range
The experimental results show that a resolution better than 0.1W in the measurement range from 1000 W to 3000 W with maximal relative error of 0.11% is achivable

## Slide 12
THANK YOU!